## Raw原始数据
Location | H2S | RH | T | Y1rate | Y2rate | Y3rate | Ravg | Location | H2S | RH | T | Y1rate | Y2rate | Y3rate | Ravg
GPC | 50 | 100 | 17 | 3.025 | 1.6137 | 1.3766 | 1.4952 | PSC | 50 | 100 | 17 | 8.55 | 5.1725 | 2.3403 | 3.7564
GPC | 50 | 100 | 25 | 2.4075 | 1.7963 | 1.4549 | 1.6256 | PSC | 50 | 100 | 25 | 5.66 | 4.2788 | 3.5614 | 3.9201
GPC | 50 | 100 | 30 | 3.7973 | 1.3123 | 1.8085 | 1.5604 | PSC | 50 | 100 | 30 | 3.1485 |  | 2.3599 | 2.3599
GPC | 25 | 100 | 17 | 2.5575 | 1.2373 | 1.9561 | 1.5967 | PSC | 25 | 100 | 17 | 5.9118 | 2.6876 | 1.4575 | 2.0726
GPC | 25 | 100 | 25 | 1.913 | 1.0823 | 2.1528 | 1.6175 | PSC | 25 | 100 | 25 | 5.587 | 2.7945 | 2.5696 | 2.6821
GPC | 25 | 100 | 30 | 2.2651 | 1.3802 | 1.1238 | 1.252 | PSC | 25 | 100 | 30 | 6.6534 | 4.4584 | 1.5604 | 3.0094
GPC | 15 | 100 | 17 | 2.8419 | 1.2045 | 0.87851 | 1.0415 | PSC | 15 | 100 | 17 | 6.4 | 2.033 | 1.7207 | 1.8768
GPC | 15 | 100 | 25 | 1.488 | 1.4001 | 1.2598 | 1.3299 | PSC | 15 | 100 | 25 | 3.661 | 2.7983 | 1.6089 | 2.2036
GPC | 15 | 100 | 30 | 3.6148 | 1.5649 | 1.5671 | 1.566 | PSC | 15 | 100 | 30 | 2.8 | 0.38553 | 0.68491 | 0.53522
GPC | 10 | 100 | 17 | 3.4363 | 1.2109 | 1.5854 | 1.3982 | PSC | 10 | 100 | 17 | 4.61 | 1.5639 | 1.4877 | 1.5258
GPC | 10 | 100 | 25 | 4.62 | 0.37085 | 1.6708 | 1.0208 | PSC | 10 | 100 | 25 | 3.281 | 1.439 | 1.5967 | 1.5178
GPC | 10 | 100 | 30 | 2.9665 | 1.2365 | 1.5675 | 1.402 | PSC | 10 | 100 | 30 | 4.4 | 2.1121 | 2.3507 | 2.2314
GPC | 5 | 100 | 17 | 3.3395 | 1.2547 | 1.0321 | 1.1434 | PSC | 5 | 100 | 17 | 2.4219 | 1.2279 | 1.2761 | 1.252
GPC | 5 | 100 | 25 | 4.0069 | 0.95104 | 0.72921 | 0.84013 | PSC | 5 | 100 | 25 | 2.552 | 1.4658 | 1.148 | 1.3069
GPC | 5 | 100 | 30 | 3.3447 | 0.24681 | 1.1637 | 0.70525 | PSC | 5 | 100 | 30 | 2.6915 | 2.2571 | 1.6359 | 1.9465
GPC | 0 | 100 | 17 | 2.1988 | 0.74566 | 0.39444 | 0.57005 | PSC | 0 | 100 | 17 | 3.3498 | 0.32667 | 0.73843 | 0.53255
GPC | 0 | 100 | 25 | 0.688 | 0.60532 | 1.0479 | 0.82662 | PSC | 0 | 100 | 25 | 1.905 | 0.7537 | 0.50667 | 0.63018
GPC | 0 | 100 | 30 | 2.1705 | 0.80876 | 1.0055 | 0.90713 | PSC | 0 | 100 | 30 | 2.55 | 1.228 | 1.0638 | 1.1459
GPC | 50 | 90 | 17 | 1.3129 | 0.78364 | 1.8147 | 1.2992 | PSC | 50 | 90 | 17 | 6.1255 | 3.6025 | 1.6533 | 2.6279
GPC | 50 | 90 | 25 | 2.044 | 1.1098 | 0.96856 | 1.0392 | PSC | 50 | 90 | 25 | 7.8487 | 4.9009 | 2.2491 | 3.575
GPC | 50 | 90 | 30 | 2.4334 | 1.0259 | 1.1022 | 1.064 | PSC | 50 | 90 | 30 | 2.924 | 2.1956 | 3.4918 | 2.8437
GPC | 25 | 90 | 17 | 1.6921 | 1.2673 | 1.7337 | 1.5005 | PSC | 25 | 90 | 17 | 7.3748 | 3.7278 | 2.4149 | 3.0713
GPC | 25 | 90 | 25 | 2.529 | 0.30128 | 0.98812 | 0.6447 | PSC | 25 | 90 | 25 | 7.0673 | 2.92 | 2.0632 | 2.4916
GPC | 25 | 90 | 30 | 3.3295 | 1.8318 | 1.0779 | 1.4548 | PSC | 25 | 90 | 30 | 7.2556 | 4.9118 | 1.7326 | 3.3222
GPC | 15 | 90 | 17 | 2.43 | 0.12522 | 1.0472 | 0.58619 | PSC | 15 | 90 | 17 | 3.3006 | 2.3279 | 0.18433 | 1.2561
GPC | 15 | 90 | 25 | 3.575 | 0.97453 | 0.79279 | 0.88366 | PSC | 15 | 90 | 25 | 5.0483 | 2.7218 | 0.72004 | 1.7209
GPC | 15 | 90 | 30 | 3.0414 | 0.72448 | 1.0169 | 0.87069 | PSC | 15 | 90 | 30 | 5.074 | 4.9688 | 1.6308 | 3.2998
GPC | 10 | 90 | 17 | 2.6405 | 0.88512 | 1.199 | 1.0421 | PSC | 10 | 90 | 17 | 4.2345 | 1.605 | 2.0389 | 1.8219
GPC | 10 | 90 | 25 | 1.83 | 1.1616 | 0.72715 | 0.94439 | PSC | 10 | 90 | 25 | 3.1695 | 1.7546 | 1.8054 | 1.78
GPC | 10 | 90 | 30 | 1.9 | 0.99798 | 0.94613 | 0.97206 | PSC | 10 | 90 | 30 | 5.425 | 2.7026 | 0.73511 | 1.7189
GPC | 5 | 90 | 17 | 2.194 | 0.58601 | 0.71576 | 0.65089 | PSC | 5 | 90 | 17 | 3.0698 | 0.84333 | 0.66255 | 0.75294
GPC | 5 | 90 | 25 | 1.738 | 0.95671 | 0.75664 | 0.85668 | PSC | 5 | 90 | 25 | 2.872 | 1.18 | 1.2312 | 1.2056
GPC | 5 | 90 | 30 | 1.7179 | 0.39 | 0.5433 | 0.46665 | PSC | 5 | 90 | 30 | 3.3242 | 3.5966 | 1.1304 | 2.3635
GPC | 0 | 90 | 17 | 2.3157 | 0.46271 | 0.714 | 0.58836 | PSC | 0 | 90 | 17 | 2.782 | 0.66 | 0.97409 | 0.81705
GPC | 0 | 90 | 25 | 1.168 | 0.68782 | 0.75524 | 0.72153 | PSC | 0 | 90 | 25 | 2.7725 | 1.0502 | 0.27644 | 0.66333
GPC | 0 | 90 | 30 | 1.5742 | 0.8117 | 1.3262 | 1.069 | PSC | 0 | 90 | 30 | 3.61 | 2.0128 | 0.67288 | 1.3428
|  | 单独类别 | 一共
|  | 36 | 72

## CorrRate
Location | H2S | RH | Temperature | CorrRate
0 | 50 | 100 | 17 | 1.6137
0 | 50 | 100 | 25 | 1.7963
0 | 50 | 100 | 30 | 1.3123
0 | 25 | 100 | 17 | 1.2373
0 | 25 | 100 | 25 | 1.0823
0 | 25 | 100 | 30 | 1.3802
0 | 15 | 100 | 17 | 1.2045
0 | 15 | 100 | 25 | 1.4001
0 | 15 | 100 | 30 | 1.5649
0 | 10 | 100 | 17 | 1.2109
0 | 10 | 100 | 25 | 0.37085
0 | 10 | 100 | 30 | 1.2365
0 | 5 | 100 | 17 | 1.2547
0 | 5 | 100 | 25 | 0.95104
0 | 5 | 100 | 30 | 0.24681
0 | 0 | 100 | 17 | 0.74566
0 | 0 | 100 | 25 | 0.60532
0 | 0 | 100 | 30 | 0.80876
0 | 50 | 90 | 17 | 0.78364
0 | 50 | 90 | 25 | 1.1098
0 | 50 | 90 | 30 | 1.0259
0 | 25 | 90 | 17 | 1.2673
0 | 25 | 90 | 25 | 0.30128
0 | 25 | 90 | 30 | 1.8318
0 | 15 | 90 | 17 | 0.12522
0 | 15 | 90 | 25 | 0.97453
0 | 15 | 90 | 30 | 0.72448
0 | 10 | 90 | 17 | 0.88512
0 | 10 | 90 | 25 | 1.1616
0 | 10 | 90 | 30 | 0.99798
0 | 5 | 90 | 17 | 0.58601
0 | 5 | 90 | 25 | 0.95671
0 | 5 | 90 | 30 | 0.39
0 | 0 | 90 | 17 | 0.46271
0 | 0 | 90 | 25 | 0.68782
0 | 0 | 90 | 30 | 0.8117
0 | 50 | 100 | 17 | 1.3766
0 | 50 | 100 | 25 | 1.4549
0 | 50 | 100 | 30 | 1.8085
0 | 25 | 100 | 17 | 1.9561
0 | 25 | 100 | 25 | 2.1528
0 | 25 | 100 | 30 | 1.1238
0 | 15 | 100 | 17 | 0.87851
0 | 15 | 100 | 25 | 1.2598
0 | 15 | 100 | 30 | 1.5671
0 | 10 | 100 | 17 | 1.5854
0 | 10 | 100 | 25 | 1.6708
0 | 10 | 100 | 30 | 1.5675
0 | 5 | 100 | 17 | 1.0321
0 | 5 | 100 | 25 | 0.72921
0 | 5 | 100 | 30 | 1.1637
0 | 0 | 100 | 17 | 0.39444
0 | 0 | 100 | 25 | 1.0479
0 | 0 | 100 | 30 | 1.0055
0 | 50 | 90 | 17 | 1.8147
0 | 50 | 90 | 25 | 0.96856
0 | 50 | 90 | 30 | 1.1022
0 | 25 | 90 | 17 | 1.7337
0 | 25 | 90 | 25 | 0.98812
0 | 25 | 90 | 30 | 1.0779
0 | 15 | 90 | 17 | 1.0472
0 | 15 | 90 | 25 | 0.79279
0 | 15 | 90 | 30 | 1.0169
0 | 10 | 90 | 17 | 1.199
0 | 10 | 90 | 25 | 0.72715
0 | 10 | 90 | 30 | 0.94613
0 | 5 | 90 | 17 | 0.71576
0 | 5 | 90 | 25 | 0.75664
0 | 5 | 90 | 30 | 0.5433
0 | 0 | 90 | 17 | 0.714
0 | 0 | 90 | 25 | 0.75524
0 | 0 | 90 | 30 | 1.3262 | 72个气 | 第二年和第三年的速率都放进来了
1 | 50 | 100 | 17 | 5.1725
1 | 50 | 100 | 25 | 4.2788
1 | 50 | 100 | 30 | 2.01
1 | 25 | 100 | 17 | 2.6876
1 | 25 | 100 | 25 | 2.7945
1 | 25 | 100 | 30 | 4.4584
1 | 15 | 100 | 17 | 2.033
1 | 15 | 100 | 25 | 2.7983
1 | 15 | 100 | 30 | 0.38553
1 | 10 | 100 | 17 | 1.5639
1 | 10 | 100 | 25 | 1.439
1 | 10 | 100 | 30 | 2.1121
1 | 5 | 100 | 17 | 1.2279
1 | 5 | 100 | 25 | 1.4658
1 | 5 | 100 | 30 | 2.2571
1 | 0 | 100 | 17 | 0.32667
1 | 0 | 100 | 25 | 0.7537
1 | 0 | 100 | 30 | 1.228
1 | 50 | 90 | 17 | 3.6025
1 | 50 | 90 | 25 | 4.9009
1 | 50 | 90 | 30 | 2.1956
1 | 25 | 90 | 17 | 3.7278
1 | 25 | 90 | 25 | 2.92
1 | 25 | 90 | 30 | 4.9118
1 | 15 | 90 | 17 | 2.3279
1 | 15 | 90 | 25 | 2.7218
1 | 15 | 90 | 30 | 4.9688
1 | 10 | 90 | 17 | 1.605
1 | 10 | 90 | 25 | 1.7546
1 | 10 | 90 | 30 | 2.7026
1 | 5 | 90 | 17 | 0.84333
1 | 5 | 90 | 25 | 1.18
1 | 5 | 90 | 30 | 3.5966
1 | 0 | 90 | 17 | 0.66
1 | 0 | 90 | 25 | 1.0502
1 | 0 | 90 | 30 | 2.0128
1 | 50 | 100 | 17 | 2.3403
1 | 50 | 100 | 25 | 3.5614
1 | 50 | 100 | 30 | 2.3599
1 | 25 | 100 | 17 | 1.4575
1 | 25 | 100 | 25 | 2.5696
1 | 25 | 100 | 30 | 1.5604
1 | 15 | 100 | 17 | 1.7207
1 | 15 | 100 | 25 | 1.6089
1 | 15 | 100 | 30 | 0.68491
1 | 10 | 100 | 17 | 1.4877
1 | 10 | 100 | 25 | 1.5967
1 | 10 | 100 | 30 | 2.3507
1 | 5 | 100 | 17 | 1.2761
1 | 5 | 100 | 25 | 1.148
1 | 5 | 100 | 30 | 1.6359
1 | 0 | 100 | 17 | 0.73843
1 | 0 | 100 | 25 | 0.50667
1 | 0 | 100 | 30 | 1.0638
1 | 50 | 90 | 17 | 1.6533
1 | 50 | 90 | 25 | 2.2491
1 | 50 | 90 | 30 | 3.4918
1 | 25 | 90 | 17 | 2.4149
1 | 25 | 90 | 25 | 2.0632
1 | 25 | 90 | 30 | 1.7326
1 | 15 | 90 | 17 | 0.18433
1 | 15 | 90 | 25 | 0.72004
1 | 15 | 90 | 30 | 1.6308
1 | 10 | 90 | 17 | 2.0389
1 | 10 | 90 | 25 | 1.8054
1 | 10 | 90 | 30 | 0.73511
1 | 5 | 90 | 17 | 0.66255
1 | 5 | 90 | 25 | 1.2312
1 | 5 | 90 | 30 | 1.1304
1 | 0 | 90 | 17 | 0.97409
1 | 0 | 90 | 25 | 0.27644
1 | 0 | 90 | 30 | 0.67288 | 72个液
| 总的 | 单独类别两年 |  | 单独类别一年
| 144 | 72 |  | 36

## CorrRavg
ANC | Location | H2S | RH | Temperature | CorrRate | MR-Predict
2430 | 1 | 50 | 100 | 17 | 1.4952 | 1.6029
2430 | 1 | 50 | 100 | 25 | 1.6256 | 1.6029
2430 | 1 | 50 | 100 | 30 | 1.5604 | 1.6029
2430 | 1 | 25 | 100 | 17 | 1.5967 | 1.3066
2430 | 1 | 25 | 100 | 25 | 1.6175 | 1.3066
2430 | 1 | 25 | 100 | 30 | 1.252 | 1.3066
2430 | 1 | 15 | 100 | 17 | 1.0415 | 1.1881
2430 | 1 | 15 | 100 | 25 | 1.3299 | 1.1881
2430 | 1 | 15 | 100 | 30 | 1.566 | 1.1881
2430 | 1 | 10 | 100 | 17 | 1.3982 | 1.1288
2430 | 1 | 10 | 100 | 25 | 1.0208 | 1.1288
2430 | 1 | 10 | 100 | 30 | 1.402 | 1.1288
2430 | 1 | 5 | 100 | 17 | 1.1434 | 1.0696
2430 | 1 | 5 | 100 | 25 | 0.84013 | 1.0696
2430 | 1 | 5 | 100 | 30 | 0.70525 | 1.0696
2430 | 1 | 0 | 100 | 17 | 0.57005 | 1.0103
2430 | 1 | 0 | 100 | 25 | 0.82662 | 1.0103
2430 | 1 | 0 | 100 | 30 | 0.90713 | 1.0103
2430 | 1 | 50 | 90 | 17 | 1.2992 | 1.3096
2430 | 1 | 50 | 90 | 25 | 1.0392 | 1.3096
2430 | 1 | 50 | 90 | 30 | 1.064 | 1.3096
2430 | 1 | 25 | 90 | 17 | 1.5005 | 1.0133
2430 | 1 | 25 | 90 | 25 | 0.6447 | 1.0133 |  |  |  | Start pH
2430 | 1 | 25 | 90 | 30 | 1.4548 | 1.0133 |  |  | Fresh: | 10.6 | -> | 1 | mol-H+/kg
2430 | 1 | 15 | 90 | 17 | 0.58619 | 0.89478 |  |  | Old: | 7.8 |  | 0.4 | mol-H+/kg
2430 | 1 | 15 | 90 | 25 | 0.88366 | 0.89478
2430 | 1 | 15 | 90 | 30 | 0.87069 | 0.89478
2430 | 1 | 10 | 90 | 17 | 1.0421 | 0.83552
2430 | 1 | 10 | 90 | 25 | 0.94439 | 0.83552
2430 | 1 | 10 | 90 | 30 | 0.97206 | 0.83552
2430 | 1 | 5 | 90 | 17 | 0.65089 | 0.77626
2430 | 1 | 5 | 90 | 25 | 0.85668 | 0.77626
2430 | 1 | 5 | 90 | 30 | 0.46665 | 0.77626
2430 | 1 | 0 | 90 | 17 | 0.58836 | 0.717
2430 | 1 | 0 | 90 | 25 | 0.72153 | 0.717
2430 | 1 | 0 | 90 | 30 | 1.069 | 0.717
2430 | -1 | 50 | 100 | 17 | 3.7564 | 3.4274
2430 | -1 | 50 | 100 | 25 | 3.9201 | 3.4274
2430 | -1 | 50 | 100 | 30 | 2.3599 | 3.4274
2430 | -1 | 25 | 100 | 17 | 2.0726 | 2.3121
2430 | -1 | 25 | 100 | 25 | 2.6821 | 2.3121
2430 | -1 | 25 | 100 | 30 | 3.0094 | 2.3121
2430 | -1 | 15 | 100 | 17 | 1.8768 | 1.866
2430 | -1 | 15 | 100 | 25 | 2.2036 | 1.866
2430 | -1 | 15 | 100 | 30 | 0.53522 | 1.866
2430 | -1 | 10 | 100 | 17 | 1.5258 | 1.6429
2430 | -1 | 10 | 100 | 25 | 1.5178 | 1.6429
2430 | -1 | 10 | 100 | 30 | 2.2314 | 1.6429
2430 | -1 | 5 | 100 | 17 | 1.252 | 1.4198
2430 | -1 | 5 | 100 | 25 | 1.3069 | 1.4198
2430 | -1 | 5 | 100 | 30 | 1.9465 | 1.4198
2430 | -1 | 0 | 100 | 17 | 0.53255 | 1.1968
2430 | -1 | 0 | 100 | 25 | 0.63018 | 1.1968
2430 | -1 | 0 | 100 | 30 | 1.1459 | 1.1968
2430 | -1 | 50 | 90 | 17 | 2.6279 | 3.4274
2430 | -1 | 50 | 90 | 25 | 3.575 | 3.4274
2430 | -1 | 50 | 90 | 30 | 2.8437 | 3.4274
2430 | -1 | 25 | 90 | 17 | 3.0713 | 2.3121 |  | 0.84522
2430 | -1 | 25 | 90 | 25 | 2.4916 | 2.3121
2430 | -1 | 25 | 90 | 30 | 3.3222 | 2.3121
2430 | -1 | 15 | 90 | 17 | 1.2561 | 1.866
2430 | -1 | 15 | 90 | 25 | 1.7209 | 1.866
2430 | -1 | 15 | 90 | 30 | 3.2998 | 1.866
2430 | -1 | 10 | 90 | 17 | 1.8219 | 1.6429
2430 | -1 | 10 | 90 | 25 | 1.78 | 1.6429
2430 | -1 | 10 | 90 | 30 | 1.7189 | 1.6429
2430 | -1 | 5 | 90 | 17 | 0.75294 | 1.4198
2430 | -1 | 5 | 90 | 25 | 1.2056 | 1.4198
2430 | -1 | 5 | 90 | 30 | 2.3635 | 1.4198
2430 | -1 | 0 | 90 | 17 | 0.81705 | 1.1968
2430 | -1 | 0 | 90 | 25 | 0.66333 | 1.1968
2430 | -1 | 0 | 90 | 30 | 1.3428 | 1.1968 | 总72实验室数据
| 1 | 1.5 | 100 | 19.7 | 0.85
| 1 | 6 | 100 | 20.7 | 6.3
| 1 | 125.3 | 96.5 | 25.8 | 10.9
| 1 | 422.1 | 90 | 27 | 5.4
| 1 | 11.9 | 94 | 17.1 | 3.5
| 1 | 12.4 | 86 | 25.8 | 1.1
| 1 | 140.3 | 94 | 20.7 | 4.4
| 1 | 2.7 | 94 | 21.6 | 0.6
| 1 | 2.2 | 94 | 21.3 | 0.7

## Lab&Field data
Location | H2S | RH | Temperature | CorrRate
1 | 50 | 100 | 17 | 1.4952
1 | 50 | 100 | 25 | 1.6256
1 | 50 | 100 | 30 | 1.5604
1 | 25 | 100 | 17 | 1.5967
1 | 25 | 100 | 25 | 1.6175
1 | 25 | 100 | 30 | 1.252
1 | 15 | 100 | 17 | 1.0415
1 | 15 | 100 | 25 | 1.3299
1 | 15 | 100 | 30 | 1.566
1 | 10 | 100 | 17 | 1.3982
1 | 10 | 100 | 25 | 1.0208
1 | 10 | 100 | 30 | 1.402
1 | 5 | 100 | 17 | 1.1434
1 | 5 | 100 | 25 | 0.84013
1 | 5 | 100 | 30 | 0.70525
1 | 0 | 100 | 17 | 0.57005
1 | 0 | 100 | 25 | 0.82662
1 | 0 | 100 | 30 | 0.90713
1 | 50 | 90 | 17 | 1.2992
1 | 50 | 90 | 25 | 1.0392
1 | 50 | 90 | 30 | 1.064
1 | 25 | 90 | 17 | 1.5005
1 | 25 | 90 | 25 | 0.6447
1 | 25 | 90 | 30 | 1.4548
1 | 15 | 90 | 17 | 0.58619
1 | 15 | 90 | 25 | 0.88366
1 | 15 | 90 | 30 | 0.87069
1 | 10 | 90 | 17 | 1.0421
1 | 10 | 90 | 25 | 0.94439
1 | 10 | 90 | 30 | 0.97206
1 | 5 | 90 | 17 | 0.65089
1 | 5 | 90 | 25 | 0.85668
1 | 5 | 90 | 30 | 0.46665
1 | 0 | 90 | 17 | 0.58836
1 | 0 | 90 | 25 | 0.72153
1 | 0 | 90 | 30 | 1.069
-1 | 50 | 100 | 17 | 3.7564
-1 | 50 | 100 | 25 | 3.9201
-1 | 50 | 100 | 30 | 2.3599
-1 | 25 | 100 | 17 | 2.0726
-1 | 25 | 100 | 25 | 2.6821
-1 | 25 | 100 | 30 | 3.0094
-1 | 15 | 100 | 17 | 1.8768
-1 | 15 | 100 | 25 | 2.2036
-1 | 15 | 100 | 30 | 0.53522
-1 | 10 | 100 | 17 | 1.5258
-1 | 10 | 100 | 25 | 1.5178
-1 | 10 | 100 | 30 | 2.2314
-1 | 5 | 100 | 17 | 1.252
-1 | 5 | 100 | 25 | 1.3069
-1 | 5 | 100 | 30 | 1.9465
-1 | 0 | 100 | 17 | 0.53255
-1 | 0 | 100 | 25 | 0.63018
-1 | 0 | 100 | 30 | 1.1459
-1 | 50 | 90 | 17 | 2.6279
-1 | 50 | 90 | 25 | 3.575
-1 | 50 | 90 | 30 | 2.8437
-1 | 25 | 90 | 17 | 3.0713
-1 | 25 | 90 | 25 | 2.4916
-1 | 25 | 90 | 30 | 3.3222
-1 | 15 | 90 | 17 | 1.2561
-1 | 15 | 90 | 25 | 1.7209
-1 | 15 | 90 | 30 | 3.2998
-1 | 10 | 90 | 17 | 1.8219
-1 | 10 | 90 | 25 | 1.78
-1 | 10 | 90 | 30 | 1.7189
-1 | 5 | 90 | 17 | 0.75294
-1 | 5 | 90 | 25 | 1.2056
-1 | 5 | 90 | 30 | 2.3635
-1 | 0 | 90 | 17 | 0.81705
-1 | 0 | 90 | 25 | 0.66333
-1 | 0 | 90 | 30 | 1.3428 | 72个实验室
1 | 1.5 | 100 | 19.7 | 0.85
1 | 6 | 100 | 20.7 | 6.3
1 | 125.3 | 96.5 | 25.8 | 10.9
1 | 422.1 | 90 | 27 | 5.4
1 | 11.9 | 94 | 17.1 | 3.5
1 | 12.4 | 86 | 25.8 | 1.1
1 | 140.3 | 94 | 20.7 | 4.4
1 | 2.7 | 94 | 21.6 | 0.6
1 | 2.2 | 94 | 21.3 | 0.7 | 9个野外实验

## ANN performance
Site | H2S | RH | Temperature | Cr Fresh | Cr Precorroded | ANN-GPC | ANN-PSC | MR-GPC | MR-PSC | R-ave | R-LpF
Melbourne SETS | 1.5 | 100 | 19.7 | 0.6 | 1.1 | 0.73127 | 0.80494 | 0.6223 | 1.5223 | 0.85 | 1.2665
Melbourne WTS | 6 | 100 | 20.7 | 6.1 | 6.5 | 0.87528 | 1.1782 | 0.7492 | 1.6492 | 6.3 | 1.2613
Perth MS | 125.3 | 96.5 | 25.8 | 11.6 | 10.2 | 3.401 | 3.4567 | 4.1135 | 5.0135 | 10.9 | 8.027
Perth Bibra Lake | 422.1 | 90 | 27 | 5.3 | 5.5 | 3.4567 | 3.4567 | 12.4832 | 13.3832 | 5.4 | 4.4422
Morton | 11.9 | 94 | 17.1 |  |  | 1.17 | 1.8828 | 0.91558 | 1.8156 | 3.5 | 1.2889
P&J (Perth) | 12.4 | 86 | 25.8 |  |  | 1.0197 | 1.7374 | 0.92968 | 1.8297 | 1.1 | 1.1851
P&J (Melbourne) | 140.3 | 94 | 20.7 |  |  | 3.4368 | 3.4567 | 4.5365 | 5.4365 | 4.4 | 6.014
Sydney A | 2.7 | 94 | 21.6 |  | 0.6 | 0.82573 | 0.94203 | 0.65614 | 1.5561 | 0.6 | 1.2318
Sydney B | 2.2 | 94 | 21.3 |  | 0.7 | 0.80243 | 0.84063 | 0.64204 | 1.542 | 0.7 | 1.2341
Reasons for the discrepency:
1. Different conditions in the lab from the field?
2. Fluctuation of the conditions in the field, cant use average value for the prediction. Some correction factors need to be used along with AVG values.
3. Other unidentified factors.
4. Reliability of field environmental data
[12 empty] | 1.2665 | 1.2613 | 8.027 | 4.4422 | 1.2889 | 1.1851 | 6.014 | 1.2318 | 1.2341

## MultiReg
Coefficients:
| Estimate | Std. Error | t value | Pr(>¦t¦) |  |  | Estimate | Std. Error | t value | Pr(>¦t¦) |  |  |  | Estimate | Std. Error | t value | Pr(>¦t¦)
(Intercept) | -0.62661 | 1.2607 | -0.497 | 0.621 |  | (Intercept) | 0.19936 | 0.30865 | 0.646 | 0.521 |  |  | (Intercept) | 0.57704 | 0.11379 | 5.071 | 3.18e-06 | ***
Location | 0.90639 | 0.12863 | 7.046 | 1.25e-09 | *** | Location | 0.90639 | 0.12812 | 7.075 | 1.04e-09 | *** |  | Location | 0.90639 | 0.12879 | 7.037 | 1.14e-09 | ***
H2S | 0.028233 | 0.003893 | 7.252 | 5.36e-10 | *** | H2S | 0.028233 | 0.003878 | 7.281 | 4.41e-10 | *** |  | H2S | 0.028233 | 0.003898 | 7.243 | 4.82e-10 | ***
RH | 0.008694 | 0.012863 | 0.676 | 0.501 |  | T | 0.015736 | 0.011964 | 1.315 | 0.193
T | 0.015736 | 0.012013 | 1.31 | 0.195
---
Signif. codes: 0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1
Residual standard error: 0.5457 on 67 degrees of freedom
Multiple R-squared: 0.6091, Adjusted R-squared: 0.5858
F-statistic: 26.1 on 4 and 67 DF, p-value: 4.61e-13
GAS
Coefficients: (1 not defined because of singularities) | [6 empty] | Coefficients: (1 not defined because of singularities)
| Estimate | Std. Error | t value | Pr(>¦t¦) |  |  |  | Estimate | Std. Error | t value | Pr(>¦t¦)
(Intercept) | -1.9613 | 0.83427 | -2.351 | 0.02505 | * |  | (Intercept) | -1.923 | 0.80021 | -2.403 | 0.02204 | *
H2S | 0.011852 | 0.00258 | 4.594 | 6.43e-05 | *** |  | H2S | 0.011852 | 0.002542 | 4.663 | 4.97e-05 | ***
RH | 0.029333 | 0.008523 | 3.441 | 0.00163 | ** |  | RH | 0.029333 | 0.008399 | 3.493 | 0.00138 | **
T | 0.001599 | 0.00796 | 0.201 | 0.84207 |  |  | ---
--- | [6 empty] | Signif. codes: 0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1
Signif. codes: 0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1
Residual standard error: 0.2557 on 32 degrees of freedom | [6 empty] | Residual standard error: 0.252 on 33 degrees of freedom
Multiple R-squared: 0.5076, Adjusted R-squared: 0.4615 | [6 empty] | Multiple R-squared: 0.507, Adjusted R-squared: 0.4771
F-statistic: 11 on 3 and 32 DF, p-value: 4.033e-05 | [6 empty] | F-statistic: 16.97 on 2 and 33 DF, p-value: 8.544e-06
Submerged
Residuals:
| Min | 1Q | Median | 3Q | Max |  |  |  | Residuals: | [8 empty] | Residuals:
-1.4455 | -0.32406 | 0.03712 | 0.40097 | 1.1951 | [5 empty] | Min | 1Q | Median | 3Q | Max |  |  |  |  | Min | 1Q | Median | 3Q | Max
[9 empty] | -1.5052 | -0.27899 | 0.00315 | 0.35975 | 1.2548 |  |  |  |  | -1.326 | -0.41677 | -0.01637 | 0.3425 | 1.434
Coefficients: | (1 | not | defined | because | of | singularities)
| Estimate | Std. | Error | t | value | Pr(>¦t¦) |  |  | Coefficients: | [8 empty] | Coefficients:
(Intercept) | 1.6145 | 1.9483 | 0.829 | 0.413 | [5 empty] | Estimate | Std. | Error | t | value | Pr(>¦t¦) |  |  |  | Estimate | Std. | Error | t | value | Pr(>¦t¦)
H2S | 0.044613 | 0.006025 | 7.405 | 2e-08 | *** |  |  |  | (Intercept) | 0.47979 | 0.46453 | 1.033 | 0.309 |  |  |  |  | (Intercept) | 1.1968 | 0.14698 | 8.142 | 1.7e-09 | ***
RH | -0.011944 | 0.019905 | -0.6 | 0.553 |  |  |  |  | H2S | 0.044613 | 0.005966 | 7.478 | 1.35e-08 | *** |  |  |  | H2S | 0.044613 | 0.006107 | 7.305 | 1.84e-08 | ***
T | 0.029874 | 0.018589 | 1.607 | 0.118 |  |  |  |  | T | 0.029874 | 0.018408 | 1.623 | 0.114 |  |  |  |  | ---
--- | [8 empty] | --- | [8 empty] | Signif. codes: 0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1
Signif. codes: 0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1 | [8 empty] | Signif. codes: 0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1
[18 empty] | Residual | standard | error: | 0.6054 | on | 34 | degrees | of | freedom
Residual | standard | error: | 0.5972 | on | 32 | degrees | of | freedom | Residual | standard | error: | 0.5913 | on | 33 | degrees | of | freedom | Multiple | R-squared: | 0.6108 | Adjusted | R-squared: | 0.5994
Multiple | R-squared: | 0.6436 | Adjusted | R-squared: | 0.6102 |  |  |  | Multiple | R-squared: | 0.6396 | Adjusted | R-squared: | 0.6177 |  |  |  | F-statistic: | 53.36 | on | 1 | and | 34 | DF | p-value: | 1.844e-08
F-statistic: | 19.26 | on | 3 | and | 32 | DF | p-value: | 2.554e-07 | F-statistic: | 29.28 | on | 2 | and | 33 | DF | p-value: | 4.871e-08

## ANN sensitivity
Location | H2S | RH | T | CorrRate | Location | H2S | RH | T | CorrRate | Location | H2S | RH | T | CorrRate
1 | 0 | 100 | 25 | 0.78533 | 1 | 25 | 100 | 0 | 2.4854 | 1 | 25 | 90 | 25 | 0.98119
1 | 1 | 100 | 25 | 0.81582 | 1 | 25 | 100 | 1 | 2.4588 | 1 | 25 | 90.5 | 25 | 0.91886
1 | 2 | 100 | 25 | 0.84938 | 1 | 25 | 100 | 2 | 2.4289 | 1 | 25 | 91 | 25 | 0.89284
1 | 3 | 100 | 25 | 0.88583 | 1 | 25 | 100 | 3 | 2.3955 | 1 | 25 | 91.5 | 25 | 0.90009
1 | 4 | 100 | 25 | 0.92472 | 1 | 25 | 100 | 4 | 2.3585 | 1 | 25 | 92 | 25 | 0.9306
1 | 5 | 100 | 25 | 0.96535 | 1 | 25 | 100 | 5 | 2.3176 | 1 | 25 | 92.5 | 25 | 0.97069
1 | 6 | 100 | 25 | 1.0068 | 1 | 25 | 100 | 6 | 2.2728 | 1 | 25 | 93 | 25 | 1.0085
1 | 7 | 100 | 25 | 1.048 | 1 | 25 | 100 | 7 | 2.2241 | 1 | 25 | 93.5 | 25 | 1.0383
1 | 8 | 100 | 25 | 1.0879 | 1 | 25 | 100 | 8 | 2.1714 | 1 | 25 | 94 | 25 | 1.0608
1 | 9 | 100 | 25 | 1.1256 | 1 | 25 | 100 | 9 | 2.1149 | 1 | 25 | 94.5 | 25 | 1.0811
1 | 10 | 100 | 25 | 1.1603 | 1 | 25 | 100 | 10 | 2.0548 | 1 | 25 | 95 | 25 | 1.1061
1 | 11 | 100 | 25 | 1.1916 | 1 | 25 | 100 | 11 | 1.9912 | 1 | 25 | 95.5 | 25 | 1.1415
1 | 12 | 100 | 25 | 1.2193 | 1 | 25 | 100 | 12 | 1.9242 | 1 | 25 | 96 | 25 | 1.1899
1 | 13 | 100 | 25 | 1.2433 | 1 | 25 | 100 | 13 | 1.8537 | 1 | 25 | 96.5 | 25 | 1.2493
1 | 14 | 100 | 25 | 1.264 | 1 | 25 | 100 | 14 | 1.7793 | 1 | 25 | 97 | 25 | 1.313
1 | 15 | 100 | 25 | 1.2817 | 1 | 25 | 100 | 15 | 1.7002 | 1 | 25 | 97.5 | 25 | 1.3712
1 | 16 | 100 | 25 | 1.2968 | 1 | 25 | 100 | 16 | 1.6154 | 1 | 25 | 98 | 25 | 1.4151
1 | 17 | 100 | 25 | 1.3098 | 1 | 25 | 100 | 17 | 1.5243 | 1 | 25 | 98.5 | 25 | 1.4384
1 | 18 | 100 | 25 | 1.321 | 1 | 25 | 100 | 18 | 1.4279 | 1 | 25 | 99 | 25 | 1.4392
1 | 19 | 100 | 25 | 1.331 | 1 | 25 | 100 | 19 | 1.3313 | 1 | 25 | 99.5 | 25 | 1.4186
1 | 20 | 100 | 25 | 1.34 | 1 | 25 | 100 | 20 | 1.2462 | 1 | 25 | 100 | 25 | 1.3793
1 | 21 | 100 | 25 | 1.3483 | 1 | 25 | 100 | 21 | 1.19 | -1 | 25 | 90 | 25 | 2.8208
1 | 22 | 100 | 25 | 1.3562 | 1 | 25 | 100 | 22 | 1.1797 | -1 | 25 | 90.5 | 25 | 2.7264
1 | 23 | 100 | 25 | 1.364 | 1 | 25 | 100 | 23 | 1.2207 | -1 | 25 | 91 | 25 | 2.6374
1 | 24 | 100 | 25 | 1.3716 | 1 | 25 | 100 | 24 | 1.2974 | -1 | 25 | 91.5 | 25 | 2.555
1 | 25 | 100 | 25 | 1.3793 | 1 | 25 | 100 | 25 | 1.3793 | -1 | 25 | 92 | 25 | 2.4799
1 | 26 | 100 | 25 | 1.3871 | 1 | 25 | 100 | 26 | 1.4409 | -1 | 25 | 92.5 | 25 | 2.4124
1 | 27 | 100 | 25 | 1.3951 | 1 | 25 | 100 | 27 | 1.4745 | -1 | 25 | 93 | 25 | 2.3527
1 | 28 | 100 | 25 | 1.4033 | 1 | 25 | 100 | 28 | 1.4863 | -1 | 25 | 93.5 | 25 | 2.3012
1 | 29 | 100 | 25 | 1.4118 | 1 | 25 | 100 | 29 | 1.4877 | -1 | 25 | 94 | 25 | 2.2586
1 | 30 | 100 | 25 | 1.4205 | 1 | 25 | 100 | 30 | 1.489 | -1 | 25 | 94.5 | 25 | 2.2264
1 | 31 | 100 | 25 | 1.4295 | -1 | 25 | 100 | 0 | 1.1508 | -1 | 25 | 95 | 25 | 2.2069
1 | 32 | 100 | 25 | 1.4387 | -1 | 25 | 100 | 1 | 1.1748 | -1 | 25 | 95.5 | 25 | 2.2034
1 | 33 | 100 | 25 | 1.4481 | -1 | 25 | 100 | 2 | 1.2009 | -1 | 25 | 96 | 25 | 2.2196
1 | 34 | 100 | 25 | 1.4578 | -1 | 25 | 100 | 3 | 1.2296 | -1 | 25 | 96.5 | 25 | 2.2585
1 | 35 | 100 | 25 | 1.4677 | -1 | 25 | 100 | 4 | 1.2614 | -1 | 25 | 97 | 25 | 2.3195
1 | 36 | 100 | 25 | 1.4778 | -1 | 25 | 100 | 5 | 1.2965 | -1 | 25 | 97.5 | 25 | 2.397
1 | 37 | 100 | 25 | 1.4882 | -1 | 25 | 100 | 6 | 1.3355 | -1 | 25 | 98 | 25 | 2.4805
1 | 38 | 100 | 25 | 1.4986 | -1 | 25 | 100 | 7 | 1.3786 | -1 | 25 | 98.5 | 25 | 2.5582
1 | 39 | 100 | 25 | 1.5093 | -1 | 25 | 100 | 8 | 1.4264 | -1 | 25 | 99 | 25 | 2.6219
1 | 40 | 100 | 25 | 1.5201 | -1 | 25 | 100 | 9 | 1.4792 | -1 | 25 | 99.5 | 25 | 2.6682
1 | 41 | 100 | 25 | 1.531 | -1 | 25 | 100 | 10 | 1.5378 | -1 | 25 | 100 | 25 | 2.6972
1 | 42 | 100 | 25 | 1.5421 | -1 | 25 | 100 | 11 | 1.6032
1 | 43 | 100 | 25 | 1.5533 | -1 | 25 | 100 | 12 | 1.6769
1 | 44 | 100 | 25 | 1.5646 | -1 | 25 | 100 | 13 | 1.7612
1 | 45 | 100 | 25 | 1.5759 | -1 | 25 | 100 | 14 | 1.8587
1 | 46 | 100 | 25 | 1.5874 | -1 | 25 | 100 | 15 | 1.9716
1 | 47 | 100 | 25 | 1.599 | -1 | 25 | 100 | 16 | 2.0989
1 | 48 | 100 | 25 | 1.6106 | -1 | 25 | 100 | 17 | 2.2346
1 | 49 | 100 | 25 | 1.6223 | -1 | 25 | 100 | 18 | 2.3669
1 | 50 | 100 | 25 | 1.6341 | -1 | 25 | 100 | 19 | 2.4831
-1 | 0 | 100 | 25 | 0.93597 | -1 | 25 | 100 | 20 | 2.5747
-1 | 1 | 100 | 25 | 1.0119 | -1 | 25 | 100 | 21 | 2.6396
-1 | 2 | 100 | 25 | 1.0854 | -1 | 25 | 100 | 22 | 2.6805
-1 | 3 | 100 | 25 | 1.1559 | -1 | 25 | 100 | 23 | 2.7014
-1 | 4 | 100 | 25 | 1.2233 | -1 | 25 | 100 | 24 | 2.7061
-1 | 5 | 100 | 25 | 1.2877 | -1 | 25 | 100 | 25 | 2.6972
-1 | 6 | 100 | 25 | 1.3493 | -1 | 25 | 100 | 26 | 2.676
-1 | 7 | 100 | 25 | 1.4087 | -1 | 25 | 100 | 27 | 2.6431
-1 | 8 | 100 | 25 | 1.4665 | -1 | 25 | 100 | 28 | 2.5989
-1 | 9 | 100 | 25 | 1.5232 | -1 | 25 | 100 | 29 | 2.5453
-1 | 10 | 100 | 25 | 1.5796 | -1 | 25 | 100 | 30 | 2.4869
-1 | 11 | 100 | 25 | 1.6364
-1 | 12 | 100 | 25 | 1.6942
-1 | 13 | 100 | 25 | 1.7536
-1 | 14 | 100 | 25 | 1.8152
-1 | 15 | 100 | 25 | 1.8794
-1 | 16 | 100 | 25 | 1.9467
-1 | 17 | 100 | 25 | 2.0174
-1 | 18 | 100 | 25 | 2.0917
-1 | 19 | 100 | 25 | 2.1695
-1 | 20 | 100 | 25 | 2.251
-1 | 21 | 100 | 25 | 2.3357
-1 | 22 | 100 | 25 | 2.4233
-1 | 23 | 100 | 25 | 2.5133
-1 | 24 | 100 | 25 | 2.6048
-1 | 25 | 100 | 25 | 2.6972
-1 | 26 | 100 | 25 | 2.7894
-1 | 27 | 100 | 25 | 2.8805
-1 | 28 | 100 | 25 | 2.9695
-1 | 29 | 100 | 25 | 3.0556
-1 | 30 | 100 | 25 | 3.1378
-1 | 31 | 100 | 25 | 3.2155
-1 | 32 | 100 | 25 | 3.288
-1 | 33 | 100 | 25 | 3.355
-1 | 34 | 100 | 25 | 3.4161
-1 | 35 | 100 | 25 | 3.4712
-1 | 36 | 100 | 25 | 3.5203
-1 | 37 | 100 | 25 | 3.5634
-1 | 38 | 100 | 25 | 3.6006
-1 | 39 | 100 | 25 | 3.6322
-1 | 40 | 100 | 25 | 3.6584
-1 | 41 | 100 | 25 | 3.6796
-1 | 42 | 100 | 25 | 3.6958
-1 | 43 | 100 | 25 | 3.7075
-1 | 44 | 100 | 25 | 3.7149
-1 | 45 | 100 | 25 | 3.7183
-1 | 46 | 100 | 25 | 3.7178
-1 | 47 | 100 | 25 | 3.7138
-1 | 48 | 100 | 25 | 3.7065
-1 | 49 | 100 | 25 | 3.696
-1 | 50 | 100 | 25 | 3.6825
其他不变只有H2S变，其实类似于PDP思想，但是为啥湿度只有一个值，温度也只有一个值，没有多样化呢？

## Sheet1
Location | H2S | RH | Temperature | CorrRate
GP | 50 | 100 | 17 | 1.4952
GP | 50 | 100 | 25 | 1.6256
GP | 50 | 100 | 30 | 1.5604
GP | 25 | 100 | 17 | 1.5967
GP | 25 | 100 | 25 | 1.6175
GP | 25 | 100 | 30 | 1.252
GP | 15 | 100 | 17 | 1.0415
GP | 15 | 100 | 25 | 1.3299
GP | 15 | 100 | 30 | 1.566
GP | 10 | 100 | 17 | 1.3982
GP | 10 | 100 | 25 | 1.0208
GP | 10 | 100 | 30 | 1.402
GP | 5 | 100 | 17 | 1.1434
GP | 5 | 100 | 25 | 0.84013
GP | 5 | 100 | 30 | 0.70525
GP | 0 | 100 | 17 | 0.57005
GP | 0 | 100 | 25 | 0.82662
GP | 0 | 100 | 30 | 0.90713
GP | 50 | 90 | 17 | 1.2992
GP | 50 | 90 | 25 | 1.0392
GP | 50 | 90 | 30 | 1.064
GP | 25 | 90 | 17 | 1.5005
GP | 25 | 90 | 25 | 0.6447
GP | 25 | 90 | 30 | 1.4548
GP | 15 | 90 | 17 | 0.58619
GP | 15 | 90 | 25 | 0.88366
GP | 15 | 90 | 30 | 0.87069
GP | 10 | 90 | 17 | 1.0421
GP | 10 | 90 | 25 | 0.94439
GP | 10 | 90 | 30 | 0.97206
GP | 5 | 90 | 17 | 0.65089
GP | 5 | 90 | 25 | 0.85668
GP | 5 | 90 | 30 | 0.46665
GP | 0 | 90 | 17 | 0.58836
GP | 0 | 90 | 25 | 0.72153
GP | 0 | 90 | 30 | 1.069
PS | 50 | 100 | 17 | 3.7564
PS | 50 | 100 | 25 | 3.9201
PS | 50 | 100 | 30 | 2.3599
PS | 25 | 100 | 17 | 2.0726
PS | 25 | 100 | 25 | 2.6821
PS | 25 | 100 | 30 | 3.0094
PS | 15 | 100 | 17 | 1.8768
PS | 15 | 100 | 25 | 2.2036
PS | 15 | 100 | 30 | 0.53522
PS | 10 | 100 | 17 | 1.5258
PS | 10 | 100 | 25 | 1.5178
PS | 10 | 100 | 30 | 2.2314
PS | 5 | 100 | 17 | 1.252
PS | 5 | 100 | 25 | 1.3069
PS | 5 | 100 | 30 | 1.9465
PS | 0 | 100 | 17 | 0.53255
PS | 0 | 100 | 25 | 0.63018
PS | 0 | 100 | 30 | 1.1459
PS | 50 | 90 | 17 | 2.6279
PS | 50 | 90 | 25 | 3.575
PS | 50 | 90 | 30 | 2.8437
PS | 25 | 90 | 17 | 3.0713
PS | 25 | 90 | 25 | 2.4916
PS | 25 | 90 | 30 | 3.3222
PS | 15 | 90 | 17 | 1.2561
PS | 15 | 90 | 25 | 1.7209
PS | 15 | 90 | 30 | 3.2998
PS | 10 | 90 | 17 | 1.8219
PS | 10 | 90 | 25 | 1.78
PS | 10 | 90 | 30 | 1.7189
PS | 5 | 90 | 17 | 0.75294
PS | 5 | 90 | 25 | 1.2056
PS | 5 | 90 | 30 | 2.3635
PS | 0 | 90 | 17 | 0.81705
PS | 0 | 90 | 25 | 0.66333
PS | 0 | 90 | 30 | 1.3428
总72数据